## Cover
PRE-COMMISSIONING REPORT
#VALUE!
Vgreen Indonesia | Vendor
COMM TEST REPORT V1.1
PLANT NAME
PLANT ADDRESS
PLANT COORDINATE
GMAPS LINK
EV CHARGER TYPE
S/N EC CHARGER UNIT
ID PLN / KODE BILLING
PROVIDER / NO SIM
INSTALLATION VENDOR
PIC VENDOR CONTACT
INSTALLATION DATE
COMMISSIONING DATE
CUSTOMER

## BSS
1. Battery Swap Station
1.1 VISUAL INSPECTION
FRONT VIEW (OPEN) |  | SIDE VIEW (RIGHT)
FRONT VIEW (CLOSE) |  | SIDE VIEW (LEFT)
PROOF OF BSS FOUNDATION AT 40 CM DEPTH | *Fill if installed | COMPLETED CONCRETE FOUNDATION FOR BSS 20CM HEIGHT FROM GROUND | *Fill if installed
STICKER | *Fill if installed | NAME PLATE
AC CABLE TERMINATION |  | GROUNDING TERMINATION
AC-DC CABLE ENTRY TO PANEL |  | VISIBLE SAFETY SIGN
2. SIM CARD
2.1 VISUAL INSPECTION
KARTU PERDANA |  | INSTALLED SIM CARD
SIGNAL BAR |  | URL
USER INTERFACE (LCD)

## Grounding
3. GROUNDING SYSTEM
3.1 GROUNDING VISUAL INSPECTION
GROUNDING ROD CONNECTION |  | GROUNDING CONNECTED TO EV CHARGER
GROUNDING ROD TO EARTH (INSERT 2 PICS IF USE 2 SPOTS) |  | GROUNDING BUSBAR IN PANEL AC
GROUNDING CABLE ROUTE |  | GROUNDING TEST (OHM)
XXX Ω

## KWH,AC Panel, Cable
5. KWH METER
5.1 VISUAL INSPECTION
KWH METER |  |  | MCB PLN
6. AC PANEL
6.1 VISUAL INSPECTION
FRONT VIEW (OPEN) |  |  | SAFETY SIGN
FRONT VIEW (CLOSE) |  |  | PILOT LAMPS
SIDE VIEW (RIGHT) |  |  | LOCKING SYSTEM
SIDE VIEW (LEFT) |  |  | MCB
PANEL WIRING |  |  | PHASE MARKING
6.2 TESTING
VOLTAGE (R-N) |  |  | VOLTAGE (R-G)
| XXX V |  |  | XXX V
Frequency |  |  | VOLTAGE (N-G)
| XXX Hz |  |  | XXX V
GROUNDING TO AC PANEL
3. CABLES
3.1 VISUAL INSPECTION
CABLE SPEC |  |  | CABLE ROUTING
CABLE ROUTING |  |  | CABLE ROUTING
CABLE ROUTING
Approval
**This commissioning report has been prepared truthfully based on field inspections and testing results. All information contained in this report has been compiled by actual conditions and is accountable.**
NAME |  | DESIGNATION | COMPANY |  | SIGNATURE
Prepared By : |  | Project Manager | "Vendor"
Checked By : |  | Setup Specialist | Vgreen Indonesia
Approved By : Ade Lutfian |  | Head of Setup and Operations | Vgreen Indonesia